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ASHRAE GPC 35 DRAFT AGENDA

Method of Determining the Energy Consumption

Caused by Air-Cleaning and Filtration Devices

http://gpc35.ashraepcs.org

Monday 8:00 am – 12:00 pm EDT, June 24, 2024 
JW Marriott, 205(2), JW Marriott Indianapolis, IN
1. CALL TO ORDER
A. ASHRAE Code of Ethics
B. Introduction of Members and Guests
C. Quorum Determination (10 Voting Members, 6 required (50%+1))
D. Announcements
E. Chair’s Comments
F. Liaisons

2. AGENDA REVIEW

3. MINUTES OF LAST MEETING
A. May 22, 2024 Virtual Meeting
4. MEMBERSHIP
A. Membership Changes: 
B. Any Other Membership Items:  
C. New member applications and existing member changes (Bio/Bias/Applications) due August 2, 2024
D. Submit Membership Recommendation form to SPLS by September 6, 2024, for approval vote at Summer Meeting.
5. OLD BUSINESS
A. RP-1734 Update
5.A.1. Reproducing the Typical Urban Atmospheric Aerosol in Laboratory for Air Filter Loading. Researcher Brandon Boor of Purdue University

B. ISO TC-142 Working Group 12 Update
C. Mini Round-Robin

D. Literature Review

E. WORKING DRAFT STANDARD
i. Location:  OneDrive 

ii. Review and Modification of Working Draft as circulated.

iii. Structure to Implement

a. New Guideline Template provided by Mark Weber.

i. Upload current version into this template. (Geoff Crosby)
iv. Inputs

a. New Loading Aerosol (RP-1734) (Brandon Boor)
b. Single Particulate Filter (RP-1734) (Brandon Boor)
c. Two Stage, Particulate Filters in Series (Todd McGrath)

d. Single Gas Phase Filter (Brian Krafthefer and Matt Middlebrooks)

e. Gas Phase Filter with Prefilter in Series (Brian, Matt, Vijay, consult Paula Levasseur)

v. Process

a. QC – Apparatus Qualification Testing Requirements (Bruce McDonald and Brian Krafthefer)
i. Will compare 52.2 and revised ISO 16890-2. Downstream mixing orifice is important for efficiency tests, maybe not for loading tests.

b. QC - Thermal Generator including Salt Sticks and all Operating Parameters (Bruce McDonald will Champion, will have assistance from Brandon Boor, Don Thornburg, Paolo, and Bob Burkhead)
c. Alternate Salt Generator (Vijay) 
i. will look at alternate salt generator from old standard. 

vi. Outputs

a. Power Usage

b. Filter Energy Efficiency Rating

i. Option in the Appendix

c. Excel File (Jon Rajala, Don Thornburg)

i. Standard Report Version

ii. Option to be used with user modifiable inputs

6. NEW BUSINESS
7. ASSIGNMENTS
8. NEXT MEETING: Date, Time, Location
A. Next Interim Meeting:  TBD
B. Winter 2025 Meeting: Orlando TBD
9. Adjourn
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