FINAL AGENDA

SSPC 41 STANDARD METHODS FOR MEASUREMENTS

2025 ASHRAE WINTER CONFERENCE

Room: Hilton Orlando

Clear Lake (Lobby Level)

Orlando FL

Sunday, February 9, 2025

3:30 PM to 5:30 PM Eastern Time

Hybrid Meeting

To access this meeting remotely via Microsoft Teams, click on the link below:

https://teams.microsoft.com/l/meetup-join/19%3ameeting_YjIyMzY1YWYtN2JkMC00NDMxLWExZWEtYjA0NmExYjNiMzNh%40thread.v2/0?context=%7b%22Tid%22%3a%220347d89a-0174-4dd3-adeb-3339c89c35f5%22%2c%22Oid%22%3a%22353d5c89-28ba-4478-a5f9-c02ba16da0b3%22%7d

- Call to order / Introductions / Establish quorum (17 PCVMs) – Margaret Mathison/Scott Creamer

  - ASHRAE Code of Ethics - Commitment to the ASHRAE Code of Ethics – In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: http://www.ashrae.org/codeofethics)

  - ASHRAE’s Antitrust policy: ASHRAE agrees to comply with the Antitrust Policy as stated in ANSI Essential Requirements. Antitrust guidelines presentation: https://youtu.be/ykisOzjHyZM.

  - ASHRAE Diversity Commitment:  ASHRAE is committed to providing a welcoming environment. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of everyone. We proactively pursue and celebrate diverse and inclusive communities understanding that doing so fuels better, more creative, and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all people regardless of age, gender, ethnicity, physical appearance, thought styles, religion, nationality, socioeconomic status, belief systems, sexual orientation or education

- SPLS Liaison – G. Paliaga

- Approval Draft SSPC 41 Meeting Minutes – M. Mathison

Motion:  Do you, as an SSPC 41 voting member, approve the draft minutes from the SSPC 41 meeting during the 2024 ASHRAE Summer Conference shown below?

(Note: double-click on the icon above to open the PDF document)

- Subcommittee Chair’s Reports:

Subcommittee 41.1, Standard Methods for Temperature Measurement – E. Anderson

Standard 41.1-2024 is published.  Standard 41.1-2024 will be due for periodic maintenance at the 2027 ASHRAE Winter Conference.

Subcommittee 41.2, Standard Methods for Air Velocity and Airflow Measurement – P. Collins

Standard 41.2-2022 is published. Standard 41.2-2022 Addendum a. and Addendum b. are published. Standard 41.2-2022 is now due for periodic maintenance.  Our options are to Revise, Reaffirm, or Withdraw this standard. The best option is to Revise the standard so that the Addendum a. and Addendum b. changes can be incorporated into the new revision.

Motion:  Do you, as an SSPC 41 voting member, recommend that the ASHRAE Standards Committee approves the revision of Standard 41.3-2022

Note: After this meeting, a continuation letter ballot containing the above motion will be sent to each SSPC 41 voting member who was absent from this meeting, or preferred receive a copy of the continuation letter ballot instead of voting during this meeting, to give each SSPC voting member an opportunity to vote on this motion.

Subcommittee 41.3, Standard Methods for Pressure Measurement – H. Liu

Standard 41.3-2022 is published.  Standard 41.3-2022 Addendum a. is published. Standard 41.3-2022 is now due for periodic maintenance.  Our options are to Revise, Reaffirm, or Withdraw this standard. The best option is to Revise the standard so that the Addendum a. changes can be incorporated into the new revision.

Motion:  Do you, as an SSPC 41 voting member, recommend that the ASHRAE Standards Committee approves the revision of Standard 41.3-2022.

Note: After this meeting, a continuation letter ballot containing the above motion will be sent to each SSPC 41 voting member who was absent from this meeting, or preferred receive a copy of the continuation letter ballot instead of voting during this meeting, to give each SSPC voting member an opportunity to vote on this motion.

Subcommittee 41.4, Standard Methods for Measurement of Proportion for Lubricant in Liquid Refrigerant – J. Douglas

ASHRAE Staff has reaffirmed Standard 41.4-2015 to preserve the ASNI-accreditation.  This means that we cannot publish the next revision of 41.4 until 2026.  However, we are permitted to complete the 41.4-2015R public review process before the end of 2025.  The current status of the Subcommittee 41.4-2015R is that the subcommittee reached consensus on the 41.4-2015R 1st Publication Public Review draft, but the uncertainty example is not yet completed.

Subcommittee 41.6, Standard Methods for Humidity Measurement – M. Shows

Standard 41.6-2021 is published. Standard 41.6-2021 Addendum a.  Subcommittee 41.6-2021R has reached consensus on a working draft to be the 41.6-2021R 1st Publication Public Review Draft.

Motion:  Do you, as an SSPC 41 voting member, recommend that the ASHRAE Standards Committee approve the 41.6-2021R 1st Publication Public Review Draft shown below?

Note: After this meeting, a continuation letter ballot containing the above motion will be sent to each SSPC 41 voting member who was absent from this meeting, or preferred receive a copy of the continuation letter ballot instead of voting during this meeting, to give each SSPC voting member an opportunity to vote on this motion.

Subcommittee 41.7, Standard Methods for Gas Flow Measurement – J. Scott

Standard 41.7-2021 is published. Standard 41.7-2021 Addendum a. is published on ASHRAE’s website. Subcommittee 41.6-2021R has reached consensus on a working draft to be the 41.7-2021R 1st Publication Public Review Draft.

Motion:  Do you, as an SSPC 41 voting member, recommend that the ASHRAE Standards Committee approve the 41.7-2021R 1st Publication Public Review Draft shown below?

Note: After this meeting, a continuation letter ballot containing the above motion will be sent to each SSPC 41 voting member who was absent from this meeting, or preferred receive a copy of the continuation letter ballot instead of voting during this meeting, to give each SSPC voting member an opportunity to vote on this motion.

Subcommittee 41.8, Standard Methods for Liquid Flow Measurement – J. Scott

Standard 41.8-2023 is published.  Standard 41.8-2023 Addendum a. is published. Standard 41.8-2023 will be due for periodic maintenance at the 2026 ASHRAE Winter Conference.

Subcommittee 41.9, Standard Methods for Refrigerant Mass Flow Measurement Using Calorimeters – M. Perevozchikov

Standard 41.9-2021 is published. Standard 41.9-2021 Addendum a. is published on ASHRAE’s website. Subcommittee 41.9-2021R has reached consensus on a working draft to be the 41.9-2021R 1st Publication Public Review Draft.

Motion:  Do you, as an SSPC 41 voting member, recommend that the ASHRAE Standards Committee approve the 41.7-2021R 1st Publication Public Review Draft shown below?

Note: After this meeting, a continuation letter ballot containing the above motion will be sent to each SSPC 41 voting member who was absent from this meeting, or preferred receive a copy of the continuation letter ballot instead of voting during this meeting, to give each SSPC voting member an opportunity to vote on this motion.

Subcommittee 41.10, Standard Methods for Refrigerant Mass Flow Measurement Using Flowmeters – P. Collins

Subcommittee 41.10-2024 is published.  Standard 41.10-2024 will be due for periodic maintenance at the 2027 ASHRAE Winter Conference.

Subcommittee 41.11, Standard Methods for Power Measurement – M. Todd

Standard 41.11-2023 is published.  Standard 41.11-2023 will be due for periodic maintenance at the 2026 ASHRAE Winter Conference.

Subcommittee 41.13, Standard Methods for Fuel Higher Heating Value Measurement – R. Hall

Standard 41.13-2023 is published.  Standard 41.13-2023 will be due for periodic maintenance at the 2026 ASHRAE Winter Conference.

- Website Status Report – C. Lesnar

The SSPC 41 website is located at http://sspc41.ashraepcs.org

- SSPC 41 Meetings for the 2025 ASHRAE Annual Conference

The SSPC 41 meeting at the 2025 ASHRAE Annual Conference will also be a combined in-person and virtual (hybrid) meeting that will be scheduled for a day and time during the week of the ASHRAE conference.  The SSPC 41 Subcommittee meetings will be interim virtual (Microsoft Teams) meetings that will be scheduled to before the week of the conference.

- Membership

SSPC 41 membership currently consists of 17 Project Committee Voting Members (PCVMs), 3 Project Subcommittee Voting Members (PSVMs) and 2 Consultants.  PSVMs and Consultants are non-voting members.  Before the term of any member expires, that member can apply to be reappointed at the link below.  Also, anyone who wants to become a new SSPC 41 member needs to apply at the same link below.  Note that only there can be only one PCVM from any organization at any time.

https://www.ashrae.org/technical-resources/standards-and-guidelines/apply-to-a-project-committee

- Old Business

- New Business

Post-test Uncertainty Methods: The current method in ASME PTC 19.1 versus the proposed method – the Monte Carlo method in ASME PTC 19.1.  Terry Beck, Pat Collins and Devendra Kulkarni.

- Adjourn