1791 Tullie Circle NE • Atlanta, Georgia 30329-2305 •

Tel 404-636-8400 • Fax 404-321-5478 • http://www.ashrae.org

Reply To:

Joe Vadder

Product Development Director-Advanced Tech

Evapco, Inc.

5151 Allendale Ln.

Taneytown, MD 21787

Ph. (410) 756-2600

jvadder@evapco.com

ASHRAE Chair TC 8.6

# TC 8.6 Agenda

Date/Time:     ASHRAE TC 8.6 Main Meeting: Monday February 3, 2020, 2:15-4:15 PM

TC 8.6 H/P/R Subcommittees: no in-person meetings

STD 64: no in-person meeting

Room:  Lake Virginia A @ Hilton Orlando (TC 8.6 main committee meeting)

#### Scope:  TC 8.6 is concerned with cooling towers, evaporative liquid coolers and condensers, spray ponds, and other types of contact type liquid to air exchangers and applications to complete refrigeration systems, including water treatment.

- Call to Order [Vadder]

  - Call to order at 2:17

- Roll call and introductions [Vadder]

  - Roll call indicated 7 of 8 voting members present, attaining a quorum

- APPROVAL OF MINUTES [Vadder]

  - Aykroyd motion, Boldt second, all approve of Atlanta minutes.  Passed 7-0-0.

- REVIEW OF SECTION 8 BREAKFAST [Vadder]

  - Reminded TC’s to maintain balance in voting membership

  - Collaboration space available at Orlando as well as future meetings.  This space is not able to be reserved.  For smaller meetings utilizing this space is encouraged to minimize the need for reserved meeting rooms.

  - Regarding the TC re-organization – TC8.6 is not changing

  - Reminder for TC’s to review their strategic plan to ensure TC’s are continuing to work towards their plan.  Strategic plans are on the ASHRAE website.

  - Technology transfer committee – offered from website

- Membership [Vadder]

  - Leadership change after summer Austin meeting.  TC8.6 is looking for a volunteer to be the new vice-chair.

- Handbook [Adam]

  - Chapter 40 publication this year – new section on dry adiabatic coolers

- Research [Vadder]

  - No ongoing projects

  - TC 9.6 submitted RTAR on graywater

    - TC 8.6 discussed important graywater topic

      - ASHRAE still needs to define various gray waters as there are numerous sources including parking lot drainage, shower drainage, rainwater, and sewage effluent.  There are also varying levels of treatment available to improve quality of this water for use.  Plumbing codes are trying to define gray water.  Emily Toto (staff liaison) from 189.1 is currently working on directory of definitions.

      - Tyler Anderson to informally liaise with TC9.6

  - ASHRAE only has 49 active projects / only 2 RTAR requests for this cycle so they are low on projects.

Kevin Mercer, our new section 8 head stopped by.  Reminder to our TCs review every year if you are viable or not.  Reference the TC Manual of Procedures (MOP) which is the governing document of how to manage TC’s.  TAC has streamlined MOP to make it more effective and efficient.

Roster updates will go into effect after Austin - new roster will go into effect 7/1/20.

New MTGs 1) MTG - Controlled Environment Agricultural 2) MTG - Refrigeration and Air Conditioning.  Reminder to read Code of Ethics before each meeting.

Programs – TAC and TCs have more influence on what programs are being selected for conferences.  Track chair is who we work with.  Section head is alternate path for support.

- Programs [Cohen]

  - Potential new programs

    - Looking to have panel discussion for Impact of new codes

    - Cooling towers and water treatment / optimizing cooling towers

    - Open to topics for next summer

    - Discuss program on CTI guideline 12 Building Water Systems (will be published in the next few months) and Guideline 159 Legionella in evaporative cooling systems (is published).

      - TC 3.6 is going to do legionella guidelines – proposed for Austin

        - Title pending, subject is legionella guidelines, updates to various guidelines including 12, 188, 159. Seminar format.  Proposed to cosponsor 3.6, motion by Alain, Aykroyd second, passed 7-0-0.

    - Discussed potential forum on cooling tower performance data for its use by various organizations for building energy modelling.  Plan to discuss in our chiller plant working group between now and Austin and then will discuss further with full committee in Austin.

  - program chair – looking for volunteer for replace John Cohen – no volunteers in meeting, call for volunteers will be sent

- Standard 64 [Vadder] Methods Of Laboratory Testing Remote Mechanical-Draft Evaporative Refrigerant Condensers

  - Finished first public review, 7 comments, have created responses and in process of voting those responses – ballot to come out soon, new balloting system

- TC 3.6 Water Treatment [Cohen]

  - Other than program sessions previously discussed nothing to report.

- TC 2.8 Building Environmental Impacts and Sustainability [TBD]

  - We do not currently have a liaison with TC2.8.  TC 2.8 is responsible for the ASHRAE Green Guide.  John Cohen volunteered to be a liaison in a limited manner.

- STD 189.1 [Buckley]

  - Nothing currently going on that directly affects 8.6.

  - Reorganization of the standard into core and non-core requirements.  Goal is to encourage more adoption of the standard.

  - Cooling tower addendum was changed a year ago on water parameters and is a core addendum to 189.

- STD 90.1 [Lindahl/Morrison]

  - Liaison Report to 90.1:

    - “TC8.6 and 3.6 appreciate the opportunity to support 90.1 in improving energy savings.  We are pleased to report that at our urging, a new test code is in progress with The Cooling Technology Institute for adiabatic dry coolers, potentially applied for the 2022 cycle supporting a minimum efficiency requirement for this class of equipment, and an adiabatic evaporative condenser test code is possible. Using the new dry cooler test code we requested, CTI has started to build the certification program for dry coolers aimed at cooperation with Eurovent Certita Certification (ECC) for global performance map based certification for dry coolers of all sizes. That program is targeted for incorporation in 90.1 in time for the 2022 cycle.

    - “We continue to evaluate proposals in the MSC for heat rejection equipment.”

    - “Also, CTI has just published Guideline 159, for risk management relative to legionnaires with all sizes and types of evaporative cooling equipment.  We are pleased to note that ASHRAE Guideline 12 which was developed as a supplement to STD188 for managing the risk of Legionellosis in Building Water Systems, has passed the 4th public review and has been voted for publication and has been submitted for final approvals.  The goal is publishing in early 2020.  Guideline 12, Standard 188, and a new standard being developed by ASHRAE, Standard 514P, all address building water safety which ties in directly and sometimes conflicts significantly with the need for energy efficiency, an issue we must all deal with in our work on Standard 90.1.”

  - Reminded 90.1 committee – energy efficiency is sometimes in direct conflict with safety (e.g building water systems hot water temperatures and legionella).

- Title 24 [Morrison]

  - Currently nothing that affects evaporative heat rejection equipment

  - Title 20 regarding fans – we think they will accept our exclusion of heat rejection equipment on fans

- STD 191 Building Water Efficiency [Coen]

  - Go out for full public review in the next 2 weeks

  - Will be available for comment – Joe to send link

  - Was a building water use standard but has evolved into a cooling tower standard

  - Content already covered in ANSI standard

  - Encourage everyone to comment

- Website [Kline]

  - Nothing new – website is up to date

- Old Business

  - none

- New Business

  - Proposed revised scope of ASHRAE TC 8.6, “TC 8.6 is concerned with open and closed circuit cooling towers, evaporative condensers, adiabatic condensers and fluid coolers, spray ponds, and other types of contact type liquid-to-air heat rejection equipment along with their application and impact on complete HVAC, Industrial, and Refrigeration systems, including the associated energy and water usage as well as water treatment requirements.

    - Motion by Morrison to change to proposed scope, second by Aykroyd, passed 7-0-0.

    - Scope will be sent to ASHRAE to approve – Vadder to submit to standards.

  - Florida senate bill – proposed bill similar to NY City and NY State

    - Focused on cooling towers – high cycles of concentration, monthly legionella testing

    - Concerned with singular risk approach to cooling towers and not the rest of the building

    - ASHRAE has expertise in this – we can state we have technical knowledge – we have no dog in the political fight

    - Local chapters can work with local governments – help provide information to get updated codes referenced (e.g. use 2017 vs 2007 code).

  - CTI published 159 – legionella and evaporative heat rejection equipment for HVAC and other industries including power, industrial and includes both factory assembled and field erected cooling towers.

- Adjourn

  - Meeting adjourned at 3:38