## Direct Interest
Source
| Designation |  | Title | short description | Notes
AHRI |  | web
| AHRI 1140 (2012) |  | Sound Quality Evaluation Procedures For Air-Conditioning and Refrigeration Equipment
| AHRI 1210 (I-P/2019) |  | Performance Rating of Variable Frequency Drives
| AHRI 1211 (SI/2019) |  | Performance Rating of Variable Frequency Drives
| AHRI 1270 (I-P/2015) |  | Requirements for Seismic Qualification of HVACR Equipment
| AHRI 1271 (SI/2015) |  | Requirements for Seismic Qualification of HVACR Equipment
| AHRI 1310 (2019) |  | Wind Load Design of HVACR Equipment
| AHRI 220 (2014) |  | Reverberation Room Qualification and Testing Procedures for Determining Sound Power of HVAC Equipment
| AHRI 230 (2013) |  | Sound Intensity Testing Procedures for Determining Sound Power of HVAC Equipment
| AHRI 250 (2013) |  | Performance and Calibration of Reference Sound Sources (with Addendum 1)
| AHRI 260 (I-P/2017) |  | Sound Rating of Ducted Air Moving and Conditioning Equipment
| AHRI 261 (SI/2017) |  | Sound Rating of Ducted Air Moving and Conditioning Equipment
| Guideline G (I-P)-2016 |  | Mechanical Balance of Impellers for Fans
| Guideline G (SI)-2016 |  | Mechanical Balance of Impellers for Fans
AMCA |  | web
| ANSI/AMCA 204-20 |  | Balance Quality and Vibration Levels for Fans
| ANSI/AMCA 205-19 |  | Energy Efficiency Classification for Fans | Calculation of Fan Efficiency Grade
| ANSI/AMCA 207-17 |  | Fan System Efficiency and Fan System Input Power Calculation | Partial Load calcualtion
| ANSI/AMCA 208-18 |  | Calculation of the Fan Energy Index | FEI
| ANSI/AMCA 210-16 |  | Laboratory Methods of Testing Fans for Certified Aerodynamic Performance Rating | MOT for aerodynamic performance of fans in general
| ANSI/AMCA 220-05 (R2012) |  | Laboratory Methods of Testing Air Curtain Units for Aerodynamic Performance Rating | MOT for Air Curtain Unitsair performance
| ANSI/AMCA 230-15 |  | Laboratory Methods of Testing Air Circulating Fans for Rating and Certification | MOT for performacne of Circulating fans measuring thrust
| ANSI/AMCA 240-15 |  | Laboratory Methods of Testing Positive Pressure Ventilators for Aerodynamic Performance Rating | MOT for aerodynamic performance of positive pressure ventilators (PPVs - to remove smoke after a fire) | Under revision
| ANSI/AMCA 250-12 |  | Laboratory Methods of Testing Jet Tunnel Fans for Performance | MOT for several aspects of performance for jet fans | Under revision
| ANSI/AMCA 260-20 |  | Laboratory Methods of Testing Induced Flow Fans for Rating | MOT for Induced Flow Fans
| ANSI/AMCA 300-14 |  | Reverberant Room Method For Sound Testing of Fans | See title | Under revision
| ANSI/AMCA 301-14 |  | Methods for Calculating Fan Sound Ratings from Laboratory Test Data | How to interpolate, extrapolate and calculate fan ratings from test data
| ANSI/AMCA 320-08 (R2013) |  | Laboratory Method of Sound Testing of Fans Using Sound Intensity | Sound Intensity method of measureing fan noise | Under revision
| AMCA 803-02 (R2008) |  | Industrial Process Power Generaion Fans: Site Perfomrance Tes Standard | In situ testing - not harmonized with ISO 5802 or ASME PTC 11
ASHRAE |  | web
| ASHRAE 51-16 |  | Laboratory Methods of Testing Fans for Certified Aerodynamic Performance Rating | same as AMCA 210 | Joint with AMCA 210
ASME
| PTC 11-2008(R2018) | web | Fans (an ASME performance test code) | In-situ testing of fans - Not harmonized with AMCA 803 or ISO 5802
IEC
| IEC 60879 | web | Comfort fans and regulators for household and similar purposes - Methods for measuring performance | MOT using anemometers
ISO TC 117 |  | web
| ISO 5801: 2017 |  | Fans -- Performance testin using standardized airways | Includes most of AMCA 210 methods plus more.
| ISO 5802: 2001 |  | Fans -- Fans -- Performance testging in situ | In situ testing - not harmonized with AMCA 803 or ASME PTC 11
| ISO 12759-:2010 |  | Fans -- Efficiency classifications for fans | Original ISO standard describing FEG and FMEG. Soon to be replaced by six parts
| ISO 12759-2:2019 |  | Fans -- Part 2: Standard losses for dirve components | Second of six parts, describing moter, and motor/inverter part load efficiency calculation
| ISO12759-3:2019 |  | Fans -- Part 3: Fans withnout drives a maximum operatging speed | Thidrs of six parts, describing FEG
| SIO 12759-4; 2019 |  | Fans -- Part 4: Driven fans at maximum operating speed | Fourth of six parts, describing FMEG
| ISO 13347-1: 2004 |  | Fans - Determination of fan sound power levels under standardized laboratory condition -- Part 1: Geneal; overview | Sound measurement for fans - common area of the different methods
| ISO 13347-2: 20004 |  | Fans - Determination of fan sound power levels under standardized laboratory condition -- Part 2 : Reverberant room method | Sound Testing of fans -- Reverberant Room
| ISO 13347-3: 2004 |  | Fans - Determination of fan sound power levels under standardized laboratory condition -- Part 3 : Enveloping surface methods | Sound Testing of fans -- Enveloping Surface Method
| ISO 13347-4: 2004 |  | Fans - Determination of fan sound power levels under standardized laboratory condition -- Part 4 : Sound Intensity method | Sound Testing of fans -- Sound Intensity Method
| ISO 13348:2007 |  | Fans - Toleraces, methods of conversion and technical data presentation | Presentation of Ratings, interpolation and extrapolation methods
| ISO 13349:2010 |  | Fans -- Vocabulary and defintions of categories | Fan Vocabulary
| ISO 13350:2015 |  | Fans -- Performance testing of jet fans | MOT for jet fans
| ISO 13351-2009 |  | Fans -- Dimensions

## In Progress
AMCA
| ANSI/AMCA 300 | Reverberant rm. Lw MOT
| ANSI/AMCA 301 | Developing Sound Ratings | Periodic Review
| ANSI/AMCA 320 | sound Intensity MOT | Periodic review
| ANSI/AMCA 250 | Jet fans MOT | Periodic review
| AMCA 270 | Fan array MOT | New Standard
ASHRAE
IEC
ISO
| ISO 12759-1 | 12759 general info | Under development
| ISO 12759-5 | Jet Fan Motor Eff. Grade | Being published
| ISO 12759-6 | Fanenergy Index | Under development
| ISO 24660 | Positive Pressure ventilators MoT | Under development
| ISO 13348 | Toleraces, methods of conversion and technical data presentation | Revision in Progress
| ISO 13347-2 | Sound Power Level MoT - Reverb. Rm. | Revision in Progress
| ISO 13347-3 | Sound Power Level MoT - Env. Surface | Revision in Progress
| ISO 13347-4 | Sound Power Level MoT - Sound Intensity | Revision in Progress
| ISO 13349 | Vocabulary & Definitions | Revision in Progress
| ISO 13350 | Jet Fans MoT | Revision in Progress