AGENDA TC 7.6 Building Energy Performance Handbook Sub-committee 2019 Applications Handbook Chapter 36 – Energy Use and Management Chapter 41 – Building Energy Monitoring Sunday, June 26, 2016, 3:00 pm Marriott St. Louis Grand Hotel Floor CL: Landmark 3

Purpose:

TC 7.6 is concerned with the estimation, measurement, analysis, benchmarking, and management of whole building and building systems energy and water performance.

TC 7.6 is responsible for the following handbook chapters in the HVAC Applications Volume:

HVAC APPLICATIONS: Energy Use and Management
Energy management in buildings is the control of energy use and cost while maintaining indoor environmental conditions to provide comfort and to fully meet functional needs. This chapter provides guidance on establishing an effective, ongoing energy management program, as well as information on planning and implementing energy management projects. The energy manager should understand how energy is used in the building, to manage it effectively. There are opportunities for savings by reducing the unit price of purchased energy, and by improving the efficiency and reducing the use of energy-consuming systems. Water/sewer costs and use may be included in the energy management activity. This could be called “utility management,” but “energy management” is used in this chapter.

HVAC APPLICATIONS: Building Energy Monitoring
This chapter provides guidelines for developing building monitoring projects that provide the necessary measured data at acceptable cost. The intended audience comprises building owners, building energy monitoring practitioners, and data end users such as energy and energy service suppliers, energy end users, building system designers, public and private research organizations, utility program managers and evaluators, equipment manufacturers, and officials who regulate residential and commercial building energy systems. A new section has been added on small projects to show how the methodology can be simplified.

Agenda:

- Introductions, Sub-committee news (8 attendees)

  - Nate Boyd, Fred Goldner, Dennis Landsberg, Jim Kelsey, Hyojin Kim, Bruce Hunn, Christine Reinders, Bob Fuller

  - 2015 Applications Handbook

    - Revised chapters 36 and 41 did not make it into print publication – communication breakdown, new procedures for Handbook Chapter updates should eliminate the specific circumstances that befell this TC last go-round.

    - New process for handbooks: authoring.ashrae.org

      - Uses ASHRAE.org login credentials, only those assigned to this TC will have access to the associated handbook chapters.  Master document control via cloud, with additional documents and content upload section.  Brief training on the portal performed.

    - Electronic version will be updated to include the revised chapters – currently showing 2011 content that was repeated in 2015.  Master revision manuscripts will be replaced with what was supposed to be in 2015 book, and we’ll work off those.

    - Basecamp 3 site set up for communications and collaboration on editing the handbook chapters.  Official edits will take place on the ASHRAE authoring portal however.

- Handbook Subcommittee tasks

  - Develop rough timeline of the Handbook review/revision process and begin forming and assigning responsibilities.  Positions currently needed:

    - Ch. 36 lead reviewer & team members

    - Ch. 41 lead reviewer & team members

  - Next edition of the Applications Handbook will be published in 2019

  - The Review process should commence immediately.  Nate will take the lead on the initial review of 36 and 41, Bruce will also review 41.

  - The Review and Revision process should commence in Summer 2016

    - Ch. 36 & 41 lead authors should be determined in St. Louis 2016

    - Possible revision source material?

      - Excerpts from relevant Standards & Guidelines

      - TC 7.6 Research & Programs

      - Subject Matter Experts

      - DOE Building Energy Data Book/EERE/TAP resources

      - Handbook CD

      - ISO 50001

      - PCBEA 2nd Edition (and pending 3rd Ed., along with Std. 211)

      - EPA ENERGY STAR®

      - Building EQ

      - TC 7.6 & subcommittee minutes

      - Other?

- Action Items

  - Authoring.ashrae.org overview

  - follow-up with individuals who sent e-mails indicating a willingness to review and/or revise Chapters 36 and 41

- New business